## Quarter #1
Generator Weekly/Monthly/Quarterly |  |  | Quarter: | 1 | Year: | 2026 |  | Not all months have 5 weeks.
WEEKLY | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Fuel Level
Coolant Level
Oil Level
Oil Temp
General Inspection: Hoses, connectors, obstructions, leaks
Ventilation: free from debris
Exhaust System
Exhaust Temp
Battery System: look for corrosion
Battery Test CCA #
Electrical: chewed wiring, loose wires, circuit breakers and fuses
External Lighting: flashlight
Initial and date the event with notes in month column
MONTHLY | JANUARY |  |  |  |  | FEBRUARY |  |  |  |  | MARCH
30 Min Load test; NFPA 110 8.4.2
Annually | Initial and date the event of respective week column
Load Test: 50%, 30 min; 75% , 1 hour; total 1.5 hr; NFPA 110 8.4.2.2
Note on A3: RogerM: (F) Full, 3/4, 1/2, 1/4, (E) Empty
Note on A4: RogerM: (F) Full, (A) Added
Note on A5: RogerM: (F) Full, (A) Added
Note on A7: Roger Manning: hoses, connectors, look for obstructions, noise, deterioration, vibration, leakage, pest nests
Note on A8: Roger Manning: Make sure the generator set cooling inlet/outlet and exhaust ventilation openings are clear, not blocked, remove all loose debris.
Note on A9: Roger Manning: Check drain condensate trap and for possible leakage of exhaust
Note on A11: RogerM: Pass (P) or Fail (F)

## Quarter #2
Generator Weekly/Monthly/Quarterly |  |  | Quarter: | 2 | Year: | 2026 |  | Not all months have 5 weeks.
WEEKLY | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Fuel Level
Coolant Level
Oil Level
Oil Temp
General Inspection: Hoses, connectors, obstructions, leaks
Ventilation: free from debris
Exhaust System
Exhaust Temp
Battery System: look for corrosion
Battery Test CCA #
Electrical: chewed wiring, loose wires, circuit breakers and fuses
External Lighting: flashlight
Initial and date the event with notes in month column
MONTHLY | April |  |  |  |  | May |  |  |  |  | June
30 Min Load test; NFPA 110 8.4.2
Annually | Initial and date the event of respective week column
Load Test: 50%, 30 min; 75% , 1 hour; total 1.5 hr; NFPA 110 8.4.2.2
Note on A3: RogerM: (F) Full, 3/4, 1/2, 1/4, (E) Empty
Note on A4: RogerM: (F) Full, (A) Added
Note on A5: RogerM: (F) Full, (A) Added
Note on A7: Roger Manning: hoses, connectors, look for obstructions, noise, deterioration, vibration, leakage, pest nests
Note on A8: Roger Manning: Make sure the generator set cooling inlet/outlet and exhaust ventilation openings are clear, not blocked, remove all loose debris.
Note on A9: Roger Manning: Check drain condensate trap and for possible leakage of exhaust
Note on A11: RogerM: Pass (P) or Fail (F)

## Quarter #3
Generator Weekly/Monthly/Quarterly |  |  | Quarter: | 3 | Year: | 2026 |  | Not all months have 5 weeks.
WEEKLY | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Fuel Level
Coolant Level
Oil Level
Oil Temp
General Inspection: Hoses, connectors, obstructions, leaks
Ventilation: free from debris
Exhaust System
Exhaust Temp
Battery System: look for corrosion
Battery Test CCA #
Electrical: chewed wiring, loose wires, circuit breakers and fuses
External Lighting: flashlight
Initial and date the event with notes in month column
MONTHLY | JULY |  |  |  |  | AUGUST |  |  |  |  | SEPTEMBER
30 Min Load test; NFPA 110 8.4.2
Annually | Initial and date the event of respective week column
Load Test: 50%, 30 min; 75% , 1 hour; total 1.5 hr; NFPA 110 8.4.2.2
Note on A3: RogerM: (F) Full, 3/4, 1/2, 1/4, (E) Empty
Note on A4: RogerM: (F) Full, (A) Added
Note on A5: RogerM: (F) Full, (A) Added
Note on A7: Roger Manning: hoses, connectors, look for obstructions, noise, deterioration, vibration, leakage, pest nests
Note on A8: Roger Manning: Make sure the generator set cooling inlet/outlet and exhaust ventilation openings are clear, not blocked, remove all loose debris.
Note on A9: Roger Manning: Check drain condensate trap and for possible leakage of exhaust
Note on A11: RogerM: Pass (P) or Fail (F)

## Quarter #4
Generator Weekly/Monthly/Quarterly |  |  | Quarter: | 4 | Year: | 2026 |  | Not all months have 5 weeks.
WEEKLY | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Fuel Level
Coolant Level
Oil Level
Oil Temp
General Inspection: Hoses, connectors, obstructions, leaks
Ventilation: free from debris
Exhaust System
Exhaust Temp
Battery System: look for corrosion
Battery Test CCA #
Electrical: chewed wiring, loose wires, circuit breakers and fuses
External Lighting: flashlight
Initial and date the event with notes in month column
MONTHLY | OCTOBER |  |  |  |  | NOVEMBER |  |  |  |  | DECEMBER
30 Min Load test; NFPA 110 8.4.2
Annually | Initial and date the event of respective week column
Load Test: 50%, 30 min; 75% , 1 hour; total 1.5 hr; NFPA 110 8.4.2.2
Note on A3: RogerM: (F) Full, 3/4, 1/2, 1/4, (E) Empty
Note on A4: RogerM: (F) Full, (A) Added
Note on A5: RogerM: (F) Full, (A) Added
Note on A7: Roger Manning: hoses, connectors, look for obstructions, noise, deterioration, vibration, leakage, pest nests
Note on A8: Roger Manning: Make sure the generator set cooling inlet/outlet and exhaust ventilation openings are clear, not blocked, remove all loose debris.
Note on A9: Roger Manning: Check drain condensate trap and for possible leakage of exhaust
Note on A11: RogerM: Pass (P) or Fail (F)